# General

## General

The Consultant shall schedule physical arrangements for meetings throughout progress of the Work, prepare meeting agenda with regular participant input and distribute with written notice of each meeting, preside at meetings, record minutes to include significant proceedings and decisions, and reproduce and distribute copies of minutes within five Working Days after each meeting to participants and parties affected by meeting decisions.

The location of the meeting shall be a site office provided by the Contractor at the facility.

## Preconstruction meeting

The Preconstruction Meeting shall take place no later than ten Working Days after the issuance of the Commence Work Order.

Contractor shall be prepared to discuss the following subjects, as a minimum:

Required schedules.

Status of bonds and insurance.

Sequencing of critical path work items.

Progress payment procedures.

Project changes and clarification procedures.

Requirements for use of site, access, site signs, office and storage areas, security, utilities, hoarding and temporary facilities.

Major product delivery and priorities.

Contractor’s safety plan and representative.

Contractor’s environmental management plan

Requested submittals.

Quality Control Plan.

Permits obtained by the Owner.

Permits obtained by the Contractor.

Submittal procedure

Attendees will include:

- Owner’s representatives.

Contractor’s Project Manager.

Contractor’s resident superintendent.

Contractor’s quality control representative.

Subcontractors’ representatives whom Contractor may desire or Consultant may request to attend.

Consultant’s representatives.

Others as appropriate.

## Progress meetings

Consultant will schedule recurring bi-weekly progress meetings at site to review the following:

- Health and safety issues

Review of any comments on the previous meeting summaries,

Review of the progress of the Work including comments regarding the progress schedule

Schedule and status of Shop Drawing and sample submittals

Status of Contractor-issued requests for information

Status of Owner-issued requests for quotation

Status of change orders

Status of Contractor claims

Status of payment certificates

Other matters needing discussion and resolution

Attendees will include:

- Owner’s representative(s), as appropriate.

Contractor’s representatives. Contractor’s project manager must attend.

Subcontractors, and Suppliers, if requested by Consultant or Owner.

Others as appropriate if requested by Consultant or Owner.

## Quality control and co-ordination meetings

Scheduled by Consultant on regular basis and as necessary to review test and inspection reports, and other matters relating to quality control of the Work and work of other contractors.

Attendees will include:

- Contractor’s Project Manager and Site Superintendent.

Contractor’s designated quality control representative.

Subcontractors and Suppliers, as necessary.

Consultant’s representatives.

Owner’s representatives.

## Process instrumentation and control systems co-ordination meetings

Contractor will schedule recurring monthly meetings at site to review specific and/or technical requirements of work.

Attendees will include:

- Contractor.

Owner.

Subcontractor/Installer.

Consultant’s representatives.

## Facility startup meetings

Schedule and attend startup meetings as organized by the Consultant. The first such meeting shall be held prior to submitting the Facility Startup Plan, as specified in Section 01 91 00 – Commissioning, and shall include preliminary discussions regarding such plan.

- Agenda items shall include, but not be limited to:

      - Content of Facility Startup Plan.

      - Co-ordination needed between various parties in attendance.

      - Potential problems associated with startup.

Attendees will include:

- Contractor.

Contractor’s designated quality control representative.

Subcontractors and equipment manufacturer’s representatives whom Contractor deems to be directly involved in facility startup.

Consultant’s representatives.

Owner’s representatives.

Others as required by Contract Documents or as deemed necessary by Contractor.

## Other meetings

In accordance with Contract Documents and as may be required by Owner and Consultant.

The Owner reserves the right to call additional site meetings, or to request the attendance of particular personnel at any meeting.

# Products – Not Used

# Execution – Not Used

End of section