# General

## Scope

This section specifies requirements related to submission of extended warranties. Extended warranties required for the Contract are specified in Specification Divisions 2 through 49 inclusive.

## Related sections

Section 01 77 00, Closeout Procedures.

Section 01 78 23 Equipment Operation and Maintenance Data

Divisions 2 to 49 inclusive.

## Reference

Supplementary General Conditions.

CCDC 2 – 2020 General Conditions.

## Definitions

Extended Warranties are warranties specified in the Contract Documents which are required beyond the expiry of the one-year contract warranty. Extended warranties shall commence upon the expiry of the contract warranty period.

## Submittals

Provide all extended warranties as specified in the Contract Documents in a vinyl, hard cover binder. Where multiple binders are required, correlate data into related consistent groupings. Identify contents of each binder on spine.

Arrange content in order by section number specifying such extended warranty.

Separate each extended warranty with tab sheets and label tabs with specifying section number and product or service name.

Provide table of contents for each binder listing the following information:

- Section number

Product or services trade name

Provide the following information with each extended warranty:

- Name and address of manufacturer

Model or catalogue data

Warranty description and length of warranty

Procedure for failure or malfunction

Instances which affect warranty

Certification of Contractor’s installation

## Payment

Payment for this section shall be made upon submission of all required documentation as specified in this and related sections.

# Products

## Extended warranties

Refer to individual specifications for any additional details.

Extended Warranty for the specified components and sections will remain in effect for the number of years as follows:

| Component/System | Section | Length of Extended Warranty (years) |
| --- | --- | --- |
| Example: Preformed Metal Roofing | 07 41 13 | 25 |
| Example: Ultraviolet Disinfection Equipment (UV lamps) | 46 66 23 | 3 |

# Execution

## Contractor requirements

Inform all manufacturers providing extended warranties of all obligations required under such extended warranties.

Provide access to the work site to all manufacturers required to provide extended warranties in order for such manufacturers to witness installation of equipment and systems requiring an extended warranty as well as related and interconnected products and systems.

## Warrantor requirements under extended warranties

Manufacturers shall provide extended warranties as specified in paragraph 12.3.6 of CCDC 2 – 2020 as amended by the Supplementary Conditions.

Extended warranties shall provide the Owner with the same rights as the original contract warranty.

All work performed under an extended warranty shall be subject to the same warranty as the original work of the Contract, and such warranty shall remain in effect:

- for the remaining period of the extended warranty, or

one year from the completion of such extended warranty work, whichever is greater.

Upon notification of defects in product or services under an extended warranty, remedy any defect identified by the Owner during the period specified in paragraph 3.2.3.

Remedy any damage to Owner-owned or controlled real or personal property, when such damage is the direct result of any defect of equipment, material, workmanship, or design furnished.

Commence repairs and replacements within five Working Days of notification of defect unless a shorter response time is specified elsewhere in the Contract Documents.

Supplier’s/Manufacturer’s standard disclaimers and limitations on product and services warranties shall not relieve the warrantor of their obligations required under the specific extended warranty.

The Warrantor shall not be liable for the repair of any defects of material nor resultant damage where such defect or damages results from any defect in Owner-furnished material or design.

End of section