## Sheet1
Application for a Permit to Construct or Demolish - SEPTIC
This form is authorized under subsection 8(1.1) of the Building Code Act, 1992
For use by Principal Authority
Application number: | [11 empty] | Permit #:
Date received: | [11 empty] | Roll number: |  |  |  | 4341-
Application submitted to: | [5 empty] | TOWNSHIP OF SPRINGWATER
(Name of municipality, upper-tier municipality, board of health or convservation authority.)
A. | Project information
Building number, street name | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Postal code |  |  |  |  | Plan number/other description
Project value est.$ | [13 empty] | Area of work (m2)
B. | Purpose of application
| New Construction |  |  |  |  | Addition to an existing building | [6 empty] | Alteration/repair |  |  |  |  | Demolition |  |  |  | Conditional Permit
Proposed use of building | [12 empty] | Current use of building
Description of proposed work
C. | Applicant |  |  |  | Applicant is: |  |  |  | Owner |  |  | or |  |  | Authorized agent of owner
Last name | [8 empty] | First name |  |  |  |  | Corporation or partnership
Street Address | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Province |  |  |  |  | Postal Code |  |  | E-mail
Telephone number (include area code) | [8 empty] | Fax (include area code) | [7 empty] | Cell number (include area code)
Ext.
D. | Owner (if different from applicant)
Last name | [8 empty] | First name |  |  |  |  | Corporation or partnership
Street Address | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Province |  |  |  |  | Postal Code |  |  | E-mail
Telephone number (include area code) | [8 empty] | Fax (include area code) | [7 empty] | Cell number (include area code)
Ext.
FOR OFFICE USE ONLY
Township of Springwater
Septic Design Reviewed
Signature
Date
Application for a Permit to Construct or Demolish - SEPTIC (cont'd.)
E. | Builder (if known)
Last name | [8 empty] | First name |  |  |  |  | Corporation or partnership
Street Address | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Province |  |  |  |  | Postal Code |  |  | E-mail
Telephone number (include area code) | [8 empty] | Fax (include area code) | [7 empty] | Cell number (include area code)
Ext.
F. | New home construction licensing requirement
| i. | Is proposed construction for a new home as defined in the New Home Construction Licensing Act, 2017? If no, go to - Section G. | [17 empty] | Yes |  |  | No
| ii. | Is a licence required under the New Homes Construction Licensing Act, 2017? | [17 empty] | Yes |  |  | No
| iii. | If yes to (ii) provide licence number(s):
G. | Required Schedules
| i. | Attach Schedule 1 for each individual who reviews and takes resposibility for design activities.
| ii. | Attach Schedule 2 where application is to construct on-site, install or repair a sewage system.
H. | Completeness and compliance with applicable law.
| i. | This application meets all the requirements of clauses 1.3.1.3(5) (a) to (d) of Division C of the Building Code. (The application is made in the correct form and by the owner or authorized agent, all applicable fields have been completed on the application and all required schedules and, all required schedules are submitted.) | [17 empty] | Yes |  |  | No
|  | Payment has been made of all fees that are required, under the applicable by-law, resolution or regulation made under clause 7(1)(c) of the Building Code Act, 1992, to be paid when the application is made. | [17 empty] | Yes |  |  | No
| ii. | This application is accompanied by the plans and specifications prescribed by the applicable by-law, resolution or regulation made under clause 7(1)(b) of the Building Code Act, 1992. | [17 empty] | Yes |  |  | No
| iii. | This application is accompanied by the information and documents prescribed by the applicable by-law, resolution or regulation made under clause (7(1)(b) of the Building Code Act, 1992 which enables the chief building official to determine whether the proposed building, construction or demolition will contravene any applicable law. | [17 empty] | Yes |  |  | No
| iv. | The proposed building, construction or demolition will not contravene any applicable law. | [17 empty] | Yes |  |  | No
I. | Declaration of applicant
| I, | [18 empty] | certify that:
(print name)
| 1. | The information contained in this application, attached schedules, attached plans and specifications, and other attached documentation is true to the best of my knowledge.
| 2. | If the owner is a corporation or partnership, I have authority to bind the corporation or partnership.
|  | Date | [8 empty] | Signature of Applicant
Personal information contained in this form and schedules is collected under the authority of sub-Section 8(1.1) of the Building Code Act, 1992, and will be used in the administration and enforcement of the Building Code Act, 1992. Questions about the collection of personal information may be addressed to: a) the Chief Building Official of the municipality or upper-tier municipality to which this application is being made, or, b) the inspector having the powers and duties of a chief building official in relation to sewage systems or plumbing for an upper-tier municipality, board of health or conservation authority to whom this application is made, or, c) Director, Building and Development Branch, Ministry of Municipal Affairs and Housing, 777 Bay St., 12th Floor. Toronto, M7A 2J3 (416) 585-6666.
Schedule 1: Designer Information
Use one form for each individual who reviews and takes responsibility for design activities with respect to the project.
A. | Project information
Building number, street name | [16 empty] | Unit number |  |  |  | Lot/con.
0 | [16 empty] | 0 |  |  |  | 0
City/Town (Municipality) | [8 empty] | Postal code |  |  |  |  | Plan number/other description
0 | [8 empty] | 0 |  |  |  |  | 0
B. | Individual who reviews and takes responsibility for design activities
Name | [10 empty] | Firm
Street Address | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Province |  |  |  |  | Postal Code |  |  | E-mail
Telephone number (include area code) | [8 empty] | Fax (include area code) | [7 empty] | Cell number (include area code)
Ext.
C. | Design activities undertaken by individual identified in - Section B [Building Code Table 3.5.3.1.(1) of Division C]
|  | House | [7 empty] | HVAC - House | [7 empty] | Building Structural
|  | Small Buildings | [7 empty] | Building Services | [7 empty] | Plumbing - House
|  | Large Buildings | [7 empty] | Detection, Lighting and Power | [7 empty] | Plumbing - All Buildings
|  | Complex Buildings | [7 empty] | Fire Protection | [7 empty] | On-site Sewage Systems
Description of designer's work
D. | Declaration of Designer
I, | [13 empty] | declare that (choose one as appropriate):
(print name)
I review and take responsibility for the design work on behalf of a firm registered under subsection 3.2.4 of Division C, of the Building Code. I am qualified, and the firm is registered, in the appropriate classes/categories.
Individual BCIN:
Firm BCIN:
I review and take responsibility for the design work and am qualified in the appropriate category as an "other designer" under subsection 3.2.5 of Division C, of the Building Code.
Individual BCIN:
Basis for exemption from registration:
The design work is exempt from the registration and qualification requirements of the Building Code.
Basis for exemption from registration and qualification:
I certify that:
| 1. | The information contained in this schedule is true to the best of my knowledge.
| 2. | I have authority to bind the corporation or partnership (if applicable).
| Date | [7 empty] | Signature of Designer
Note:
1. | For the purposes of this form , "individual" means the "person" referred to in Clause 3.2.4.7(1) d). Of Division C, Article 3.2.5.1 of Division C, and all other persons who are exempt from qualification under Subsections 3.2.4 and 3.2.5 of Division C.
2. | Schedule 1 is not required to be completed by a holder of a license, temporary license, or a certificate of authorization, issued by the Ontario Association of Architects. Schedule 1 is also not required to be completed by a holder of a license to practise, a limited license to practise, or a certificate of authorization, issed by the Association of Professional Engineers of Ontario.
Schedule 2: Sewage System Installer Information
A. | Project information
Building number, street name | [16 empty] | Unit number |  |  |  | Lot/con.
0 | [16 empty] | 0 |  |  |  | 0
City/Town (Municipality) | [8 empty] | Postal code |  |  |  |  | Plan number/other description
0 | [8 empty] | 0 |  |  |  |  | 0
B. | Sewage system installer
Is the installer of the sewage system engaged in the business of constructing on-site, installing, repairing, servicing, cleaning or emptying sewage systems, in accordance with Building Code Article 3.3.1.1, Division C?
|  | Yes (Continue to Section C) | [6 empty] | No (Continue to Section E) | [6 empty] | Installer unknown at time of application (Continue to Section E)
C. | Registered install information (where answer to B is "Yes')
Name | [16 empty] | BCIN
Street Address | [16 empty] | Unit number |  |  |  | Lot/con.
City/Town (Municipality) | [8 empty] | Province |  |  |  |  | Postal Code |  |  | E-mail
Telephone number (include area code) | [8 empty] | Fax (include area code) | [7 empty] | Cell number (include area code)
Ext.
D. | Qualified supervisor information (where answer to Section B is "Yes")
Name of qualified supervisor(s) | [11 empty] | Building Code Identification Number (BCIN)
E. | Declaration of applicant
| I, | [15 empty] | declare that:
(print name)
I am the applicant for the permit to construct the sewage system. If the installer is unknown at time of applicaton, I shall submit a new Schedule 2 prior to construction when the installer is known;
OR
I am the holder of the permit to construct the sewage system, and am submitting a new Schedule 2 now that the installer is known.
I certify that:
| 1. | The information contained in this schedule is true to the best of my knowledge.
| 2. | If the owner is a corporation or partnership, I have the authority to bind the corporation or partnership.
| Date | [8 empty] | Signature of applicant
Schedule 2A: Sewage System Information
A. | Proposed sewage system
| System is for: |  |  |  | Residential Use |  |  |  |  | Commercial or Industrial or Agricultural Use
| The installation is: |  |  |  |  | New |  |  | Replacement |  |  |  | Alteration |  |  |  | Repair
| Test Holes are generally required for all new or replacement Class 4 septic system applications; minimum size to be 3 feet (.9 meters) wide and 6 feet (1.8 meters) deep. Must be stepped or sloped. | [16 empty] | Are test holes ready?
[19 empty] | Yes |  | No
B. | Type of proposed sewage system
| 1. | Trench |  | 2. | Filter |  | 3. | Distribution |  |  | 4. | Other, please specify:
| 0 | Please enter the number representing the type of system to be installed (eg. 1-4)
C. | Classification of Treatment Unit: | [7 empty] | II |  | III |  | IV
| Manufacturer | [8 empty] | Model | [5 empty] | Attach documentation to application
D. | Design flow calculations - single dwelling units (separate calculations required for multi-residential and non-residential structures)
Record number of plumbing fixtures in chart below (include rough-in plumbing, eg. for future basement bathroom)
| Description of Fixture | [6 empty] | Number of new/ proposed bath- rooms/fixtures |  |  |  |  | Fixture Units |  |  | Fixture Unit Count |  |  | Notes
[12 empty] | x |  |  | =
| Bathroom Groups | 2- pc: 1 ea toilet, sink, | [5 empty] | 0 |  |  |  | x | 5.5 |  | = | 0
|  | 3- pc: 1 ea toilet, sink, bathtub/1-head shower | [5 empty] | 0 |  |  |  | x | 6 |  | = | 0
|  | 4-pc: 1 toilet, 2 sinks tub/shower | [5 empty] | 0 |  |  |  | x | 7.5 |  | = | 0
|  | 5-pc: 1 toilet, 2 sinks, 1 tub/shower, 1 shower | [5 empty] | 0 |  |  |  | x | 9 |  | = | 0
| Counted separately per unit: | Lavatory/bathroom sink | [5 empty] | 0 |  |  |  | x | 1.5 |  | = | 0
|  | toilet | [5 empty] | 0 |  |  |  | x | 4 |  | = | 0
|  | Tub or 1-head shower | [5 empty] | 0 |  |  |  | x | 1.5 |  | = | 0
|  | bidet | [5 empty] | 0 |  |  |  | x | 1 |  | = | 0
|  | dishwasher | [5 empty] | 0 |  |  |  | x | 1 |  | = | 0
|  | laundry tub | [5 empty] | 0 |  |  |  | x | 1.5 |  | = | 0
|  | sink, bar sink or kitchen sink (ea) | [5 empty] | 0 |  |  |  | x | 1.5 |  | = | 0
|  | washing machine | [5 empty] | 0 |  |  |  | x | 1.5 |  | = | 0
|  | Other, pls specify | [5 empty] | 0 |  |  |  | x | 0 |  | = | 0
[11 empty] | Total Fixture Units: |  |  |  |  | 0
[10 empty] | Total Fixture Units over 20: | [5 empty] | 0
Record finished floor area - in square meters - for the following:
| 1st Floor |  |  | 2nd Floor |  |  | 3rd Floor |  |  | Loft |  |  | Other ? please identify: |  |  |  | Other - M2 |  |  |  | Total
| 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | 0 |  |  |  | 0
| Will this septic system serve more than one dwelling unit? (eg. basement apt, granny flat etc.) | [19 empty] | Yes |  | No
Please specify:
Schedule 2A: Sewage System Information - cont'd.
E. | Design Flow Calculations for Dwellings (separate calculation required for non-residential structures)
Where:
| A= bedroom flow (1-5 bedrooms) | [6 empty] | B= bedroom flow (over 5 bedrooms) | [6 empty] | C= Living area flow |  |  |  | D= Fixture units over 50.
| Bedroom Flow (A) |  |  |  |  | Select Number of Bedrooms | [5 empty] | Volume (in litres) | [6 empty] | Total Flow
[6 empty] | 1 | Bedroom |  |  |  |  | 750 | [5 empty] | = | 0
[6 empty] | 2 | Bedrooms |  |  |  |  | 1100 | [5 empty] | = | 0
[6 empty] | 3 | Bedrooms |  |  |  |  | 1600 | [5 empty] | = | 0
[6 empty] | 4 | Bedrooms |  |  |  |  | 2000 | [5 empty] | = | 0
[6 empty] | 5 | Bedrooms |  |  |  |  | 2500 | [5 empty] | = | 0
[6 empty] | Number of bedrooms? | [6 empty] | Enter 1- 5 |  |  | TOTAL (A) |  |  | 0
| Bedroom Flow (B) |  |  |  | >5 Bedrooms? |  |  |  | # of bedrooms >5 |  |  |  |  | Volume (in litres) |  |  |  |  | Total Flow
[6 empty] | Yes |  | No | 0 |  |  |  | x | 500 |  | each |  | = | 0
[16 empty] | TOTAL (B) |  |  | 0
| Living Area |  |  |  | Total Living area in m2: | [13 empty] | 0
| Flow(C) |  |  |  | Size of Living Area (in m2) |  |  |  | number of 10m2-increments over 200 m2 |  |  |  |  | Volume (in litres) |  |  |  |  | Total Flow
[6 empty] | 0 - 200 m2 |  |  | 0 |  |  |  | x | 0 |  |  |  | = | 0
[6 empty] | 201 - 400 m2 |  |  | 0 |  |  |  | x | 100 |  |  |  | = | 0
[6 empty] | 401 - 600 m2 |  |  | 0 |  |  |  | x | 75 |  |  |  | = | 0
[6 empty] | > 600 m2 |  |  | 0 |  |  |  | x | 50 |  |  |  | = | 0
[16 empty] | TOTAL (C) |  |  | 0
| Fixture Units (D) |  |  |  | Number of fixture units |  |  |  |  | = | 0 |  |  | x | 50 litres/ fixture unit |  |  | = | Total Flow
[5 empty] | over 20 (from pg. 5) | [13 empty] | 0
[16 empty] | TOTAL (D) |  |  | 0
F. | Design Flow (eg. "Q") (Number of litres per day - insert totals for A and B or C or D from Section E (above).
| Q = A + (the highest of) B or C or D | [22 empty] | Q
|  | Q | = | 0 |  |  |  | (A) | + |  | 0 |  |  |  |  | (B or C or D)
|  | Q | = | 0 |  |  |  | Litres per day
G. | Septic Tank Size (working capacity) for Class 4 System | [13 empty] | New |  | Existing |  |  | Replacement
Working Capacity
| Select 1 or 2 below |  |  |  |  | 0 | [9 empty] | Minimum |  |  |  | Proposed
| 1 | Residential (3600L) minimum | [6 empty] | 2 | x | Q | (from Section F) |  |  |  | 0
| 2 | Non-Residential (3600L) minimum | [6 empty] | 3 | x | Q | (from Section F) |  |  |  | 0
Schedule 2A: Sewage System Information - cont'd.
H. | Percolation Rate of Design Soil (T)
| Percolation Rate of Design Soil | [7 empty] | Percolation Rate of Mantle Sand | [7 empty] | SEE:
| T = |  |  |  |  | min/cm |  |  | T = |  |  |  |  | min/cm |  |  |  | Laboratory Analysis
| Soil is: |  |  | Native |  | Imported |  |  | Soil is: |  |  | Native |  | Imported |  |  |  | Laboratory Report Attached
NOTE: |  | The Township of Springwater may require documentation by a certified soil technician on proposed imported soils to confirm the percolation rate "T" time), or the suitability of filter sand or imported fill.
I. | Percolation Rate and Classification of Native Soil
|  | Laboratory Analysis (report attached) | [7 empty] | Test on site (Test Hole) | [5 empty] | Estimated (Unified System)
| Test Hole #1 | [11 empty] | Test Hole #2
| Soil Description |  |  | Depth (in meters) |  |  | Township Confirmation | [5 empty] | Soil Description |  |  | Depth (in meters) |  |  | Township Confirmation
| eg. Topsoil |  |  | 0m - .3m | [8 empty] | eg. Topsoil |  |  | 0m - .28m
| Depth to groundwater (or T>50) | [11 empty] | Depth to groundwater (or T>50)
| Notes: | [11 empty] | Notes:
ESTIMATED PERCOLATION RATE OF NATIVE SOIL (for example only)
| ü | T-time (in min/cm) |  |  | Visual Appearance | [6 empty] | Soil Type (Unified Soil Classification System)
|  | 4 - 12 |  |  | silty gravels, gravel-sand-silt | [6 empty] | GM | Permeable to medium permeable, depending on amount of silt
|  | 12 - 50 |  |  | clay-like gravel, gravel-sand-clay mixtures | [6 empty] | GC | Important to estimate amount of silt and clay
|  | 2 - 12 |  |  | gravel, sand mix, minimal fine | [6 empty] | SW | Medium permeability
|  | 2 - 8 |  |  | gravelly sand, uniform, minimal fine | [6 empty] | SP | Medium permeability
|  | 8 - 20 |  |  | silty sand/loam mix | [6 empty] | SM | Medium to low permeability
|  | 12 - 50 |  |  | clay-like sand/silty loam mix | [6 empty] | SC | Medium to low mermeability depending on amount of clay
|  | 20 - 50 |  |  | inorganic silts/clay-like silts | [6 empty] | ML | Medium to low permeability
NOTE: Filter bed can only be installed in the ground when "T" time of native soil does not exceed 15 min/cm. 8.7.4.2.(2)
J. | Water Supply for Lot
Water supply is existing
Proposed supply is:
|  |  | Drilled Well |  |  |  | Municipal Well |  |  |  |  | Other, please specify:
| Are other wells located within 30 m of proposed septic tank/distribution pipe? | [18 empty] | Yes |  | No
If yes, be sure to include location and setback on site plan.
Additional appliances (check as applicable):
|  | Water softener |  |  |  |  | Does it backwash into septic? | [6 empty] | Yes |  | No
|  | Water Filter |  |  |  |  | Does it backwash into septic? | [6 empty] | Yes |  | No
Schedule 2C: Class 4 Sewage System Calculations
A. | Type of bed and proposed grade
Proposed system to be:
| 1. | Absorption Trench
|  | 1A | Standard
|  | 1B | with treatment unit as described in Table 8.6.2.2
| 2. | Filter Bed where Q
|  | 2A | ≤ 3000 litres per day
|  | 2B | >3000 litres per day
|  | 2C | With treatment unit as described in Table 8.6.2.2
| 3. | Type A Dispersal Bed where Q
|  | 3A | ≤ 3000 litres per day
|  | 3B | >3000 litres per day
NOTE: Most of the following calculations willl auto populate based on your response to the next statement. Calculations that do not reflect your selection will remain "0"
The proposed bed for this project will be: (enter 1A, 2B, etc as applicable)
| Proposed elevation of base in relation to existing grade to be: | [14 empty] | mm |  | Above grade |  |  |  | Below grade
B: | Absorption Trench
| L= | Length of distribution pipe (in meters) | [6 empty] | D= | Daily design flow (in litres) | [5 empty] | T= | Percolation Time of underlying soil
| (1A) Under 8.7.3.1(2) | [11 empty] | (1B) 8.7.3.1(3) With treatment unit as described in Table 8.6.2.2
Where L=QT/200
| Q |  | x | T | ÷200 |  | = | L |  |  |  |  | Where L=QT/300
| 0 |  | x | 0 | ÷200 |  | = | 0 |  |  |  |  | Q |  | x | T | ÷300 |  | = | L
[13 empty] | 0 |  | x | 0 | ÷300 |  | = | 0
Length (in meters)
| Minimum |  |  | Proposed
0
C. | Filter Bed
Effective Surface area:
| a) | If Q | ≤ | 3000 litres/day | [8 empty] | b) | If Q | > | 3000 litres/day
|  | A | = | Q/75 | [9 empty] | A | = | Q/50
|  | Q |  |  | ÷ 75 |  |  | A (m2) | [5 empty] | Q |  |  | ÷ 50 |  |  | A (m2)
|  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
Surface Area (m2)
|  | Minimum |  |  | Proposed
|  | 0 |  |  | 0
C. | Filter Bed - continued..
| c) | Where level II, III, IV treatment unit used as described in Table 8.6.2.2.
|  | A | = | Q/100
|  | Q |  |  | ÷ 100 |  |  | A (m2)
|  | 0 | [5 empty] | 0
Surface Area (m2)
|  | Minimum |  |  | Proposed
0
For a), b) or c): If "A" (area) of effective surface area is greater than 50m2:
How many cells are to be installed?
What is the size of each cell?
| d) | Filter Medium Base Area:
|  | A | = | QT/850
|  | Q |  |  | x | T |  |  | ÷ 850 |  | A
|  | 0 |  |  |  | 0 |  |  |  |  | 0
Base Area (m2)
|  | Minimum |  |  | Proposed
0
D. | Loading Rate (fill area) from Table 8.7.4.1 of the Building Code (if applicable)
Loading Rates (LR) for
Fill-based/Absorption Trenches and Filter Beds
|  | If the Percolation Time of Soil (T) in minutes per cm is: | [6 empty] | Loading Rate (LR)
(L/m2)/per day
|  |  | between 1 and 20 | [5 empty] | 10
|  |  | between 20 and 35 | [5 empty] | 8
|  |  | between 35 and 50 | [5 empty] | 6
|  |  | greater than 50 | [5 empty] | 4
Enter loading rate below. Divide "Q" by corresponding loading rate (LR) to get the Loading Area.
|  | Q |  |  |  |  | LR |  |  |  |  | Loading Area (LA)
|  | 0 |  |  |  | ÷ |  |  |  |  | = | #DIV/0!
Schedule 2C: Class 4 Sewage System Calculations - cont'd.
E. | Type A Dispersal Bed
| Q | = | Daily design flow (in litres) | [5 empty] | T | = | Percolation Time of underlying soil | [7 empty] | A | = | Area (in m2)
| (i) | Stone Layer area: |  |  |  |  | (Formulas in (i) and (ii) are based on the value of "Q" and will OR will not calculate based "Type of filter bed chosen on page 8.)
|  | If Q ≤ 3,000 litres/day | [11 empty] | (ii) | If Q ≥ 3,000 litres/day
|  |  | A | = | Q/75 | [10 empty] | A = Q/50
|  |  | Q |  | ÷ | 75 | = | A | [7 empty] | Q |  | ÷ | 50 | = | A
|  |  | 0 |  | ÷ | 75 | = | 0 | [7 empty] | 0 |  | ÷ | 50 | = | 0
| (iii) | Sand Layer where T≤ 15
|  |  | A= | QT
850
|  |  | Q |  | x | T | ÷ | 850 |  | = | A
|  |  | 0 |  | x | 0 | ÷ | 850 |  | = | 0
| (iv) | Sand Layer area where T >15
shall,
|  | a) | extend to at least 15m beyond the perimetr of the treatment unit, or distribution pipes if utilized, in any direction that the effluent entering the soil will move horizontally and,
b) have an area that is not less than the value determined by the following formula,
|  |  | A= | QT
400
|  |  | Q |  | x | T | ÷ | 400 | = | A
|  |  | 0 |  | x | 0 | ÷ | 400 | = | 0
F. | Pump and Siphons (if applicable)
Distribution Pipe
L= Total length of distribution pipe in the leaching bed
V = Effluent volume (in litres) pumped.
| Select diameter (in inches) of distribution pipe (eg. 3 or 4) | [14 empty] | Enter pipe length (L) | [5 empty] | Proposed
|  | 75mm (3") diameter distribution pipe | [8 empty] | V | = | 3.3 | x |  |  | (L) | = | 0
|  | 100 mm (4") diameter distribution pipe | [8 empty] | V | = | 5.9 | x |  |  | (L) | = | 0
A Dose Pump is required if total distribution pipe is 150m or more
| Dose Pump required? | [5 empty] | Yes |  |  | No
G. | Site Plan
Locate and show horizontal distance from sewage system to all proposed or existing structures, driveway, property lines, swimming pools.
Locate and show clearance to all wells (including those on adjacent properties)
Water courses (eg. lakes, rivers, ponds, etc.)
Swales, slopes and changes in grade
North (facing) arrow
Tank and pump chamber sizes (in litres) and name of manufacturer
Base, contact and loading areas (in square meters)
Length of distribution pipe (in meters)
Attach septic site plan (incorporating all applicable elements as noted above) to application.
H. | Declaration and Acknowledgement
1. | I acknowledge that any deviation from the approved plans and specifications after the permit is issued is a violation of the Building Code Act and agree to consult with a building inspector befor making any changes from the approved plans.
2. | I agree to comply with the provisions of Municipal Building and Zoning By-laws.
3. | I agree that, neighter the granting of a permit, nor approval of the plans and specifications, nor inspections made by Township of Springwater Inspectors during work on the sewage system, shall relieve me from the responsibility for carrying out the work in accordance with the Building Code Act, as amended, and the Regulations made thereunder.
4. | I declare that the information contained herein is in every respect, fully and truthfully stated to the best of my knowledge and belief.
5. | I acknowledge that I will provide a pit analysis of filter medium where applicable.
6. | I acknowledge, that, prior to backfilling, the stone layer shall be protected by covering it with an untreated building paper or a permeable geo-textile fabric.
7. | I acknowledge that a leaching bed shall not be covered with any material having a hydraulic conductivity less than 0.01 m/day.
8. | I acknowledge that I will operate (if owner), or advise owner (if contrctor) of the operation and maintenance required on the septic system.
9. | I acknowledge that I will provide a Maintenance Contract for a Treatment Unit and Class-5 Holding Tank.
10. | I acknowledge that should a temporary entrance be required to construct this septic system, I will obtain such permit as is required by the Public Works Department (705-728-4784 Ext 2036), prior to commencing construction.
Submitted by:
| Name (please print) | [7 empty] | Signature of Owner/Agent | [9 empty] | Date
I. | For Office Use Only
NOTES:
| Name (please print) | [7 empty] | Signature of Inspector | [9 empty] | Date Approved
BU-418-3/17
CAN/BNQ 3680-600
BMEC

## Sheet2
| A | B
1 | Data | Data
2 | 3 | 4
3 | 5 | 2
4 | 3 | 4
5 | 5 | 6
6 | 4 | 7
| Formula | Description (Result)
| #REF! | 3rd largest number in the numbers above (5)
| #REF! | 7th largest number in the numbers above (4)