{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Read First","Submission Data","_lookup_"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":14,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Read First","index":0,"n_rows":28,"n_cols":3,"rows_kept":28,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,"Please read the following instructions before completing the Template"]
[]
[null,null,"1. Does the format in which the data is pasted into the Excel template matter?"]
[null,null,"Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:"]
[null,null,"• That the data is pasted into the correct fields"]
[null,null,"• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive"]
[null,null,"• That the pasted data does not contain any embedded formulas"]
[null,null,"• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this."]
[]
[null,null,"You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus."]
[]
[]
[null,null,"2. Why are the units of measurement that I entered into the excel template invalid?"]
[null,null,"Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid."]
[]
[]
[null,null," 3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?"]
[null,null,"The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal."]
[]
[null,null,"Note: that there are no macros functions in this year’s templates."]
[]
[null,null,"NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser."]
[]
[null,null,"Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage."]
[]
[null,null,"Otherwise, please feel free to contact us at BPSSupport@ontario.ca "]

{"sheet":"Submission Data","index":1,"n_rows":44,"n_cols":36,"rows_kept":44,"cut":false,"hidden":false,"merged":[]}
["Energy Consumption and Greenhouse Gas Emissions Reporting - for 2019"]
["Confirm consecutive 12-mth period (mth-yr to mth-yr)","Jan/2019 - Dec/2019"]
["Sector","Municipality"]
["Agency Sub-sector","Municipal"]
["Organization Name","City of Temiskaming Shores"]
[]
[]
["Operation Name","Operation Type","Address","City","Postal Code","Total Floor Area","Unit","Avg hrs/wk","Annual Flow\n (ML)","Electricity\n Quantity","Electricity\n Unit","Natural\n Gas Quantity","Natural\n Gas Unit","Fuel Oil\n 1 & 2 Quantity","Fuel Oil\n 1 & 2 Unit"," Fuel Oil\n 4 & 6 Quantity","Fuel Oil\n 4 & 6 Unit","Propane\n Quantity","Propane\n Unit","Coal\n Quantity","Coal\n Unit","Wood\n Quantity","Wood\n Unit","District\n Heating Quantity","District\n Heating Unit","Renewable?","If Yes,\n enter Emission Factor","District\n Cooling Quantity","District\n Cooling Unit","Renewable?","If Yes,\n enter Emission Factor","GHG Emissions (Kg)","Energy Intensity (ekWh/sqft)","Energy Intensity (ekWh/Mega Litre)","Building / Operation Identifier","Comments"]
["Stephenson Building","Administrative offices and related facilities, including municipal council chambers","2160 Yonge Street","Toronto","M7A 2G5",135034,"Square feet",70,23516.002240000002,2181065,"kWh",125300,"Cubic meter",null,"Litre",null,"Litre",null,"Litre",null,"Metric Tonne",null,"Metric Tonne",26.73,"Giga Joule","No",0,20.506,"Giga Joule","No",0,{"$nulls":4},"max. 255 characters"]
["Arena / Community Center (Haileybury)","Indoor ice rinks","1 Blackwell Street","Haileybury","P0J 1K0",35003.9898,"Square feet",45.5,0,392280,"kWh",26074.52,"Cubic Meter",{"$nulls":18},61251.13996404,19.1233681579361,0]
["Arena / Community Center (New Liskeard)","Indoor recreational facilities","75 Wellington Street","New Liskeard","P0J 1P0",45294.998112,"Square feet",98,0,419880,"kWh",69165.8,"Cubic Meter",{"$nulls":18},143561.7321966,25.498592484114,0]
["Building Maintenance Shop/Office &  Public Works Garage - Carpenter's Shop","Storage facilities where equipment or vehicles are maintained, repaired or stored","500 Broadway","Haileybury","P0J 1K0",15714.998676,"Square feet",40,0,31104.4,"kWh",10960.81,"Cubic Meter",{"$nulls":18},21670.64770907,9.39188398690579,0]
["Cemetery Caretaker Building","Administrative offices and related facilities, including municipal council chambers","177150 Shepherdson","New Liskeard","P0J 1P0",247.991796,"Square feet",40,0,1479.84,"kWh",{"$nulls":20},45.09516432,5.96729417613476,0]
["Cemetery Chapel","Cultural facilities","01 Whitewood Avenue","New Liskeard","P0J 1P0",1904.991192,"Square feet",40,0,2.62,"kWh",{"$nulls":20},0.07983926,0.00137533444301615,0]
["Cemetery Vault","Administrative offices and related facilities, including municipal council chambers","350 Morrisette","Haileybury","P0J 1K0",946.995192,"Square feet",40,0,63.85,"kWh",{"$nulls":20},1.94570105,0.0674237847661638,0]
["City Hall / Provincial Court / Council / Art Gallery","Administrative offices and related facilities, including municipal council chambers","325 Farr Drive","Temiskaming Shores","P0J 1K0",15209.994852,"Square feet",40,0,180480,"kWh",26956.37,"Cubic Meter",{"$nulls":18},56464.20798399,30.7012785759153,0]
["Community Hall/Office Building","Community centres","90 Whitewood Avenue","New Liskeard","P0J 1P0",38695.998744,"Square feet",10,0,26254.6,"kWh",32397.079,"Cubic Meter",{"$nulls":18},62050.848704333,9.57627514707423,0]
["Dump Garage / Office","Storage facilities where equipment or vehicles are maintained, repaired or stored","704165 Rockley","New Liskeard","P0J 1P0",499.998564,"Square feet",40,0,2348.52,"kWh",{"$nulls":20},71.56644996,4.69705348993762,0]
["Fire Station (Haileybury)","Fire stations and associated offices and facilities","468 Georgina Avenue","Haileybury","P0J 1K0",8696.999844,"Square feet",168,0,19666.55,"kWh",15031.886,"Cubic Meter",{"$nulls":18},29018.988310672,20.6303421312815,0]
["Fire Station (New Liskeard)","Fire stations and associated offices and facilities","30 Wellington Street","New Liskeard","P0J 1K0",6597.998316,"Square feet",168,0,17773.07,"kWh",8814.41,"Cubic Meter",{"$nulls":18},17206.36029718,16.8915856792968,0]
["Haileybury Library Building","Public libraries","545 Lakeshore Road","Haileybury","P0J 1K0",17199.989352,"Square feet",45,0,22618.67,"kWh",11289.25,"Cubic Meter",{"$nulls":18},22033.01959066,8.29060405672105,0]
["Harbour Building","Storage facilities where equipment or vehicles are maintained, repaired or stored","01 Farr Drive","Temiskaming Shores","P0J 1K0",5704.995348,"Square feet",168,0,117720,"kWh",{"$nulls":20},3587.28156,20.6345479389863,0]
["Library Building","Public libraries","50 Whitewood","New Liskeard","P0J 1P0",10203.992136,"Square feet",54,0,24082.18,"kWh",10745.474,"Cubic Meter",{"$nulls":18},21049.539543338,13.5518216388498,0]
["Mechanical Sewage Treatment Plant","Facilities related to the treatment of sewage","275 View Street","Temiskaming Shores","P0J 1K0",0,"Square feet",1,802.526,301200,"kWh",{"$nulls":20},9178.4676,0,375.314943067265]
["Medical Center (Haileybury)","Administrative offices and related facilities, including municipal council chambers","95 Meridian","Haileybury","P0J 1K0",26597.994696,"Square feet",35,0,111840,"kWh",8009.527,"Cubic Meter",{"$nulls":18},18551.128323429,7.40519986873671,0]
["Medical Center (New Liskeard)","Administrative offices and related facilities, including municipal council chambers","285 Whitewood Avenue","New Liskeard","P0J 1P0",12798.998784,"Square feet",40,0,84415.42,"kWh",{"$nulls":20},2572.39109366,6.59547058520918,0]
["Montgomery Sewage Station","Facilities related to the treatment of sewage","125 Montgomery Street","New Liskeard","P0J 1P0",0,"Square feet",1,168.564,27745.86,"kWh",{"$nulls":20},845.49959178,0,164.601338364064]
["Niven Sewage Station","Facilities related to the treatment of sewage","185 Niven Street","New Liskeard","P0J 1P0",0,"Square feet",1,920.375,172320,"kWh",{"$nulls":20},5251.10736,0,187.228032052153]
["NL Reservoir (177102 Shepherdson)","Facilities related to the treatment of water","1 Con. Lot NH 16","New Liskeard","P0J 1P0",0,"Square feet",1,138.068,181080,"kWh",{"$nulls":20},5518.05084,0,1311.52765304053]
["Pool and Fitness Center","Indoor swimming pools","01 Cedar Street - 77 Wellington","New Liskeard","P0J 1P0",21301.999056,"Square feet",112,0,419200,"kWh",53337.951,"Cubic Meter",{"$nulls":18},113616.451885277,46.2897330092214,0]
["Public Works Garage - Main Shop","Storage facilities where equipment or vehicles are maintained, repaired or stored","501 Broadway","Haileybury","P0J 1K0",8299.991232,"Square feet",40,0,20395.47,"kWh",9221.49,"Cubic Meter",{"$nulls":18},18055.90913154,14.2650041449743,0]
["Public Works Garage","Storage facilities where equipment or vehicles are maintained, repaired or stored","200 Lakeshore","New Liskeard","P0J 1P0",5704.995348,"Square feet",40,0,42969.8,"kWh",{"$nulls":20},1309.4187154,7.5319605676916,0]
["Public Works Main Garage","Storage facilities where equipment or vehicles are maintained, repaired or stored","1 Lakeshore","New Liskeard","P0J 1P0",10064.996604,"Square feet",40,0,80134.35,"kWh",44599.022,"Cubic Meter",{"$nulls":18},86762.049214344,55.0544458220558,0]
["PW Complex / Community Hall / Offices / Fire Hall","Fire stations and associated offices and facilities","181-110 Drive in Theatre","Dymond","P0J 1P0",17059.992768,"Square feet",168,0,59671.59,"kWh",20811.387,"Cubic Meter",{"$nulls":18},41164.942531719,16.4625140183822,0]
["Quonset Hut Public Works Yard","Storage facilities where equipment or vehicles are maintained, repaired or stored","01 Lakeshore","New Liskeard","P0J 1P0",4799.99052,"Square feet",40,0,4395.87,"kWh",{"$nulls":20},133.95534651,0.915808058720916,0]
["Riverside Place","Community centres","55 Whitewood Avenue","New Liskeard","P0J 1P0",11743.997616,"Square feet",40,0,32320,"kWh",18845.513,"Cubic Meter",{"$nulls":18},36614.723066651,19.8063655341431,0]
["Sail Boat Office (Club)","Administrative offices and related facilities, including municipal council chambers","H-305 Farr Drive / G-400 Farr Drive","Haileybury","P0J 1K0",1797.997032,"Square feet",40,0,2823.6,"kWh",2815.12,"Cubic Meter",{"$nulls":18},5408.38544304,18.2103012438343,0]
["Sewage Lagoon Filteration Station","Facilities related to the treatment of sewage","543083 Proctor's Road","Haileybury","P0J 1K0",0,"Square feet",168,206.326,198000,"kWh",{"$nulls":20},6033.654,0,959.646384847281]
["Sewage Lagoon","Facilities related to the treatment of sewage","177304 Bedard Road","New Liskeard","P0J 1P0",0,"Square feet",168,1700.092,352100,"kWh",{"$nulls":20},10729.5433,0,207.106438945657]
["Small Office Food Bank & Park Washroom","Administrative offices and related facilities, including municipal council chambers","400 Morrisette Drive","Haileybury","P0J 1K0",1097.992584,"Square feet",8,0,6185.86,"kWh",{"$nulls":20},188.50171178,5.63379032804105,0]
["Spoke Transfer Station","Other","7 Barr Drive","Temiskaming Shores","P0J 1P0",7200,"Square feet",8,0,35938.38,"kWh",5235.919,"Cubic Meter",{"$nulls":18},10994.320084953,12.7200777113976,0]
["Water Filteration Plant and Well Pumps","Facilities related to the treatment of water","305 McCamus","New Liskeard","P0J 1P0",0,"Square feet",168,1175.451,526800,"kWh",22222.264,"Cubic Meter",{"$nulls":18},58067.188719528,0,649.089809976875]
["Water Treatment / Low & High Pump","Facilities related to the treatment of water","322 Browning Street","Temiskaming Shores","P0J 1K0",0,"Square feet",168,959.08,595014.36,"kWh",9930.58,"Cubic Meter",{"$nulls":18},36906.89526594,0,730.444123243796]
["Water Treatment / Reservoir / Well Pump","Facilities related to the treatment of water","286 Raymond Street","Dymond","P0J 1P0",0,"Square feet",168,74.065,113400,"kWh",2328.9,"Cubic Meter",{"$nulls":18},7858.7194203,0,1865.26739830284]

{"sheet":"_lookup_","index":2,"n_rows":26,"n_cols":12,"rows_kept":26,"cut":false,"hidden":true,"merged":[]}
["OperationType","FloorArea","Electricity","NaturalGas","FuelOil12","FuelOil46","Propane","Coal","Wood","DistrictHeating","DistrictCooling","Renewable"]
["Administrative offices and related facilities, including municipal council chambers","Square feet","kWh","Cubic Meter","Litre","Litre","Litre","Metric Tonne","Metric Tonne","Metric Tonne","Giga Joule","Yes"]
["Public libraries","Square meters",null,"Giga Joule",{"$nulls":5},"Giga Joule","KL Chilled Water","No"]
["Cultural facilities",null,null,"ekWh",{"$nulls":5},"KL Hot Water"]
["Indoor recreational facilities"]
["Community centres"]
["Art galleries"]
["Performing arts facilities"]
["Auditoriums"]
["Indoor sports arenas"]
["Indoor ice rinks"]
["Indoor swimming pools"]
["Gyms and indoor courts for playing tennis, basketball or other sports"]
["Ambulance stations and associated offices and facilities"]
["Fire stations and associated offices and facilities"]
["Police stations and associated offices and facilities"]
["Storage facilities where equipment or vehicles are maintained, repaired or stored"]
["Parking garages"]
["Facilities related to the treatment of water"]
["Facilities related to the treatment of sewage"]
["Facilities related to the pumping of water"]
["Facilities related to the pumping of sewage"]
["Street lighting"]
["Social housing"]
["Long-term care"]
["Other"]